Revision to plans:

Added missing door elevation for door type MG3 to sheet A3.2
Delete frame type HMD and HME and use frames already in the set of drawings on sheet A3.2 for doors as follows:
Door 140 is Frame Type HMB
Door 115 & 117.2 is Frame Type HMA
Door 109.1 is Frame Type HMA

Changes are to door elevations and door schedule sheet A3.0 clouded with delta 1 (attached)
No changes to sheet A3.2 (not attached)